## Slide 1: Online Optimization of Power Networks
Steven Low
March 2016
CISS Plenary Princeton
Notes: May 2012: Santa Fe Institute Workshop on Smart Grid, Santa Fe, NM
July 2012: Network Science Workshop, Chinese University of Hong Kong, HK (Raymond Yeung)
Sept 2012: Melbourne University, EEE Department (Pascal van Hentenryck)
February 13, 2013: ITA Workshop, San Diego
May 20, 2013: IEEE Workshop on Modeling and Simulation of Cyber-Physical Energy Systems, Berkeley, CA (Peter Palensky, Edward A. Lee)
Oct 31, 2013: Google, Mountain View, CA (Arun Mazumdar)
Nov 5, 2013: Asilomar Conference, invited session on Power Networks (Edmund Yeh)
Nov 15, 2013: NSF Workshop on Smart Grid, Washington DC (Giannakis, Sairaj, SL)
Dec 2, 2013: UCLA EE (Mani Srivastava)
Dec 5, 2013: Keynote, GlobalSIP (Global Conf on Signal & Info Processing) Symposium on Signal Processing in Smart Grid (Shalinee Kishore, Lalitha Sankar)
Jan 16, 2014: Stanford Smart Grid seminar (Ram Rajagopal, Baosen Zhang)
Feb 4, 2014: 9th Annual CARNEGIE MELLON CONFERENCE ON THE ELECTRICITY INDUSTRY, (Marija Ilic, Krishnan Kant)
May 22, 2014: UC Berkeley (Kameshwar)
Oct 3, 2014: ASU (Junshan Zhang)
Nov 3, 2014: Asilomar Conference, invited session on Smart Grid: learning and optimization, Pacific Grove, CA
Nov 10, 2014: EE Control Group, Berkeley (Claire Tomlin)
Jan 16, 2015, Grid Science Winter School and Conference (Scott Backhaus, Misha Chertkov)
June 9, 2015: Advanced Mathematical Methods For Energy Systems: from Theory to Practice, Moscow, Russia (Janusz Bialek, Skoltech)
July 7, 2015, Tsinghua power systems group (Prof Song Yonghua)
July 21, 2015: Hong Kong University, EEE (David Hill, Victor Li)
Online algorithms for power systems
============================
Jan 14, 2016: IPAM Workshop on Optimization and Equilibrium of Energy Economics, UCLA, CA (Mike Ferris)
Jan 28, 2016: ESIF Workshop on Frontiers in Distributed Optimization and Control of Sustainable Power Systems, NREL, Golden, CO (Emiliano Dall’Anese, Brian Johnson)
Feb 8, 2016: PNNL (Jakob Stoustrup)
Feb 10, 2016: Georgia Tech, School of Industrial & Systems Engineering (Andy Sun)
March 10, 2016: Caltech CMI Faculty talk (Michelle Effros)
March 17, 2016: CISS Plenary talk, Princeton, NJ (Mung Chiang)

## Slide 2: Key message
Large network of DERs
  Real-time optimization at scale
  Computational challenge: power flow solution
Online optimization [feedback control]
  Network computes power flow solutions in real time at scale for free
  Exploit it for our optimization/control
  Naturally adapts to evolving network conditions
Examples
  Slow timescale: OPF
  Fast timescale: frequency control

## Slide 3: Outline
Background: smart grid
Online OPF
  Optimal power flow & relaxations
  Online algorithm
  Analysis and simulations
Load-side frequency control
  Dynamic model & design approach
  Distributed online algorithm
  Analysis and simulations
Zhao, Topcu, Li, L, TAC 2014
Mallada, Zhao, L, Allerton 2014
Zhao et al: CDC 2014, CISS 2015, PSCC 2016
Gan & L, JSAC 2016

## Slide 4
Mallada (JHU)
Li (Harvard)
Topcu (Austin)
Zhao
Dynamics
Bose (UIUC)
Chandy
Farivar
Gan (FB)
Lavaei (UCB)
Gan (FB)
Semidefinite
relaxations
of OPF
Online OPF
Dvijotham
Tang

## Slide 5: Watershed moment
Bell: telephone
1876
Tesla: multi-phase AC
1888
Both started as natural monopolies
Both provided a single commodity
Both grew rapidly through two WWs
1980-90s
1980-90s
Deregulation
started
Deregulation
started
Power network will undergo similar architectural
transformation that phone network went through
in the last two decades
IoT
1969:
DARPAnet
Internet

## Slide 6: Four drivers
Advances in power electronics
Deployment of sensing, control, comm
Proliferation of renewables
Electrification of transportation
challenges
enablers

## Slide 7
Area to power the world by solar
Notes: World wind speed at 100m:
All wind worldwide: 1,700 TW
All wind over land in high-wind areas outside Antartica: 70 – 170 TW
World power (all energy) demand in 2030: 16.9 TW
World surface solar
All solar worldwide: 6,500 TW
All solar over land in high-solar locations: 340 TW
Source: Renewable Energy Global Status Report, Sept 2010:
2009 grid-tied solar PV capacity increase
The world added 7GW of grid-connected PV capacity, to a total of 21 GW
Germany: +3.8 GW to a total of 9.8 GW
Spain: +70MW to a total of 3.4 GW (Govt subsidy expired!)
US: +470MW to a total of 1 GW (CA ~half of increase)
Off-grid capacity: 4 GW
2009 wind capacity increase
Wind power increased the most among all renewables, by 38 GW to a total of 159 GW
US: +10 GW to a total of 35 GW
China: +13.8 GW to a total of 25.8 GW
Germany: +1.9GW to a total of 25.8 GW

## Slide 8
network of
billions of active distributed energy resources (DERs)
DER: PV, wind tb, EV, storage, smart bldg / appl
Solar power over land:
> 20x world energy demand

## Slide 9: ligence
everywhere
connected

## Slide 10
Risk: active DERs introduce rapid random
fluctuations in supply, demand, power quality
increasing risk of blackouts
Opportunity: active DERs enables realtime
dynamic network-wide feedback control,
improving robustness, security, efficiency
Caltech research: distributed control of networked DERs
Foundational theory, practical algorithms, concrete
applications
Integrate engineering and economics
Active collaboration with industry

## Slide 11: Recap
Global energy demand will continue to grow
Traditional supply is unsustainable
There is more renewable energy than the world ever needs
  Someone will figure out how to capture and store it
There will be connected intelligence everywhere
  Cost of computing, storage, communication and manufacturing will continue to drop
Power system will transform into the largest and most complex Internet of Things
  Generation, transmission, distribution, consumption, storage

## Slide 12: Recap
To develop technologies that will enable and guide the historic transformation of our power system
  Generation, transmission, distribution, consumption, storage
  Devices, systems, theory, algorithms
  Control, optimization, stochastics, data, economics

## Slide 13: Outline
Background: smart grid
Online OPF
  Optimal power flow & relaxations
  Online algorithm
  Analysis and simulations
Load-side frequency control
  Dynamic model & design approach
  Distributed online algorithm
  Analysis and simulations
Zhao, Topcu, Li, L, TAC 2014
Mallada, Zhao, L, Allerton 2014
Zhao et al: CDC 2014, CISS 2015, PSCC 2016
Gan & L, JSAC 2016

## Slide 14: Optimal power flow (OPF)
OPF is solved routinely for
  network control & optimization decisions
  market operations & pricing
  at timescales of mins, hours, days, …
Non-convex and hard to solve
  Huge literature since 1962
  Common practice: DC power flow (LP)
  Also: Newton-Raphson, interior point, …

## Slide 15: Optimal power flow (OPF)
OPF underlies many applications
  Unit commitment, economic dispatch
  State estimation
  Contingency analysis
  Feeder reconfiguration, topology control
  Placement and sizing of capacitors, storage
  Volt/var control in distribution systems
  Demand response, load control
  Electric vehicle charging
  Market power analysis
  …

## Slide 16: Bus injection model
Power flow equations
OPF = QCQP  SDP relaxation

## Slide 17: Branch flow model
j
k
directed graph G

## Slide 18: Branch flow model
Branch flow model
def of power
“Ohm’s law”
power balance

## Slide 19: Branch flow model
Branch flow model
DistFlow equations (radial nk)
Baran & Wu, 1989
linear
quadratic

## Slide 20: Branch flow model
Branch flow model
Bus injection model
DistFlow equations (radial nk)
Baran & Wu, 1989

## Slide 21: Branch flow model
Branch flow model
Bus injection model
+ cycle condition on

## Slide 22: Cycle condition
A relaxed solution satisfies the cycle condition if
incidence matrix;
depends on topology

## Slide 23: Branch flow model
Branch flow model
Bus injection model
+ cycle condition on
[Farivar & Low 2013 TPS
Bose et al 2012 Allerton]
Theorem: BIM = BFM

## Slide 24: Branch flow model
BFM and BIM are equivalent (nonlinear bijection)
… but some results are easier to formulate or
prove in one than the other
BFM is much more numerically stable
BFM is useful for radial networks
  Extremely efficient computation (BFS)
  Much better linearization
  Compact extension to multiphase unbalanced nk
Gan & L PSCC 2014

## Slide 25: Branch flow model
Branch flow model
+ cycle condition on

## Slide 26: SOCP relaxation
Branch flow model

## Slide 27: Optimal power flow (OPF)
nonconvex

## Slide 28: Optimal power flow (OPF)
nonconvex

## Slide 29: SOCP relaxation of OPF

## Slide 30: Sufficient conds for exact relaxation
Tutorial: Convex relaxation of OPF, IEEE Trans. Control of Network Systems, 2014
For mesh networks, see recent works of Andy Sun, Pascal van Hentenryck on
relaxation of cycle condition

## Slide 31: Sufficient conds for exact relaxation
Tutorial: Convex relaxation of OPF, IEEE Trans. Control of Network Systems, 2014
For mesh networks, see recent works of Andy Sun, Pascal van Hentenryck on
relaxation of cycle condition

## Slide 32: SOCP relaxation of OPF
Theorem: SOCO is exact for tree networks if
Not both real & reactive power are both lower & upper bounded at each end of a line; or
Voltage upper bounds are not tight
[Farivar et al 2013, Gan et al 2014, Bose et al 2015]

## Slide 33: Convex relaxations of OPF
exactness
distributed
OPF
Kim, Baldick 1997
Dall’Anese et al 2012
Lam et al 2012
Kraning et al 2013
Devane, Lestas 2013
Sun et al 2013
Li et al 2013
Peng, Low 2014
moment/SoS,
based
relaxation
Molzahn, Hiskens 2014
Josz et al 2014
Ghaddar et al 2014
multiphase
unbalanced
Dall’Anese et al 2012
Gan, Low 2014
applications
B&B,
rank min,
QC relaxation,
Phan 2012
Gopalakrishnan 2012
Louca et al 2013
Hijazi et al 2013
ext refs in Low
TCNS 2014
Louca et al 2014
semidefinite relaxations

## Slide 34: SOCP relaxation of OPF
But all these algorithms are offline …
… unsuitable for real-time optimization of
network of distributed energy resources

## Slide 35: SOCP relaxation of OPF
We will compare our online algorithm to
SOCP relaxation wrt optimality and speed

## Slide 36: Outline
Background: smart grid
Online OPF
  Optimal power flow & relaxations
  Online algorithm
  Analysis and simulations
Load-side frequency control
  Dynamic model & design approach
  Distributed online algorithm
  Analysis and simulations
Gan & L, JSAC 2016

## Slide 37: OPF
F(x, y) = 0
BFM
controllable devices
uncontrollable state

## Slide 38: OPF
power flow equations
operational constraints
capacity limits

## Slide 39: OPF
power flow equations
operational constraints
capacity limits

## Slide 40: OPF
power flow equations
operational constraints
capacity limits

## Slide 41: OPF
F(x, y) = 0
power flow equations
controllable devices
operational constraints
(on y)
capacity limits (on x)

## Slide 42: OPF: eliminate y

## Slide 43: OPF: add barrier
L: nonconvex
add barrier function
to remove
operational constraints

## Slide 44: Online (feedback) perspective
control
x(t)
measurement,
communication
y(t)
Gan & Low JSAC 2016
Dall’Anese & Simonetto 2016

## Slide 45: Online gradient algorithm
gradient projection algorithm:
active control
law of physics
Explicitly exploits network as power flow solver
Naturally tracks changing network conditions

## Slide 46: Online gradient algorithm
gradient projection algorithm:
active control
law of physics
Results
Local optimality
Global optimality
Suboptimality bound
Tracking performance
Gan & L, JSAC 2016
Dvijotham, Tang & L, 2016

## Slide 47: Local optimality
  x(t) converges to set of local optima
  if #local optima is finite, x(t) converges

## Slide 48: Global optimality
Theorem
If co{local optima} are in A then
  x(t) converges to the set of global optima
  x(t) itself converges a global optimum if #local optima is finite

## Slide 49: Global optimality
Theorem
  If SOCP is exact over X, then assumption holds

## Slide 50: Suboptimality gap
  Informally, a local minimum is almost as good
  as any strictly interior feasible point
any local
optimum
any original
feasible pt
slightly away
from X boundary

## Slide 51: Tracking performance
drifting
OPF

## Slide 52: Tracking performance
Theorem
cost of Alg
optimal cost
dynamic
regret
rate of
drifting
subopt of
local min

## Slide 53: Tracking performance
Theorem
cost of Alg
optimal cost
dynamic
regret
rate of
drifting
subopt of
local min

## Slide 54: Tracking performance
cost of Alg
optimal cost
dynamic
regret
Theorem
  If rate of drifting is then per-step
is asymptotically bounded by
  Can made arbitrarily small at cost of computation
(local min)

## Slide 55: Simulations

## Slide 56: Key message
Large network of DERs
  Real-time optimization at scale
  Computational challenge: power flow solution
Online optimization
  Network computes power flow solutions in real time at scale for free
  Exploit it for our optimization/control
  Naturally adapts to evolving network conditions
Examples
  Slow timescale: OPF
  Fast timescale: frequency control

## Slide 57: Outline
Optimal power flow
  Background: semidefinite relaxations
  Online algorithm
  Analysis and simulations
Load-side frequency control
  Dynamic model & design approach
  Distributed online algorithm
  Analysis and simulations
Zhao, Topcu, Li, L, TAC 2014
Mallada, Zhao, L, Allerton 2014
Zhao et al: CDC 2014, CISS 2015, PSCC 2016

## Slide 58: Motivation
2011 Southwest blackout
(1 min)
  All buses synchronized to same nominal frequency (US: 60 Hz; Europe/China: 50 Hz)
  Supply-demand imbalance  frequency fluctuation

## Slide 59: Motivation
Imagine when we have 50%+ renewable generation …
(1 min)
(10 min)

## Slide 60: Why load-side participation
sec
min
5 min
60 min
primary
freq control
secondary freq control
economic
dispatch
Ubiquitous continuous load-side control can supplement generator-side control
  faster (no/low inertia)
  more reliable (large #)
  better localize disturbances
  reducing generator-side control capacity

## Slide 61: What is the potential
US:
operating reserve: 13% of peak
total GFA capacity: 18%
Lu & Hammerstrom (2006), PNNL
Residential load accounts
for ~1/3 of peak demand
61% residential appliances
are Grid Friendly

## Slide 62: How
How to design load-side frequency control ?
How does it interact with generator-side control ?

## Slide 63: Literature: load-side control
Original idea & early analytical work
  Schweppe et al 1980; Bergin, Hill, Qu, Dorsey, Wang, Varaiya …
Small scale trials around the world
  D.Hammerstrom et al 2007, UK Market Transform Programme 2008
Early simulation studies
  Trudnowski et al 2006, Lu and Hammerstrom 2006, Short et al 2007, Donnelly et al 2010, Brooks et al 2010, Callaway and I. A. Hiskens, 2011, Molina-Garcia et al 2011
Analytical work – load-side control
  Zhao et al (2012/2014), Mallada and Low (2014), Mallada et al (2014), Zhao and Low (2014), Zhao et al (2015)
  Simpson-Porco et al 2013, You and Chen 2014, Zhang and Papachristodoulou (2014), Ma et al (2014), Zhao, et al (2014),
Recent analysis – generator-side/microgrid control:
  Andreasson et al (2013), Zhang and Papachristodoulou (2013), Li et al (2014), Burger et al (2014), You and Chen (2014), Simpson-Porco et al (2013), Hill et al (2014), Dorfler et al (2014)

## Slide 64: Network model
generator or load
loads:
damping or uncontrollable
i : region/control area/balancing authority
branch power

## Slide 65: Network model
Generator bus: Mi > 0
Load bus: Mi = 0

## Slide 66: Network model
Generator bus: pi is real power injection
Load bus: pi is controllable load

## Slide 67: Generator-side control
generator bus:

## Slide 68: Load-side control
Load bus:
how to design feedback control ?

## Slide 69: Network model
Suppose the system is in steady state
Then: disturbance in gen/load …

## Slide 70: Load-side controller design
Control goals (while min disutility)
  Rebalance power & stabilize frequency
  Restore nominal frequency
  Restore scheduled inter-area flows
  Respect line limits
Zhao, Topcu, Li, Low
TAC 2014
Mallada, Zhao, Low
Allerton, 2014

## Slide 71: Load-side controller design
Control goals (while min disutility)
  Rebalance power & stabilize frequency
  Restore nominal frequency
  Restore scheduled inter-area flows
  Respect line limits
Zhao, Topcu, Li, Low
TAC 2014
Mallada, Zhao, Low
Allerton, 2014

## Slide 72: Load-side controller design
Design control law
whose equilibrium
solves:
power balance
inter-area flows
line limits
Control goals (while min disutility)
  Rebalance power & stabilize frequency
  Restore nominal frequency
  Restore scheduled inter-area flows
  Respect line limits
load disutility
freq will emerge as
Lagrange multiplier
for power imbalance

## Slide 73: Load-side controller design
Design control (G, F) s.t. closed-loop system
  is stable
  has equilibrium that is optimal
power network
load control

## Slide 74: Load-side controller design
Idea: exploit system dynamic as part of primal-dual algorithm for modified opt
  Distributed algorithm
  Stability analysis
  Control goals in equilibrium
power network
load control

## Slide 75: Summary: control architecture
Primary load-side frequency control
completely decentralized
Theorem: stable dynamic, optimal equilibrium
Zhao, Topcu, Li, Low. TAC 2014
physical network

## Slide 76: Summary: control architecture
Mallada, Zhao, Low. Allerton 2014
Secondary load-side frequency control
communication with neighbors
Theorem: stable dynamic, optimal equilibrium
physical network
cyber network

## Slide 77: Summary: control architecture
With generator-side control, nonlinear power flow
load-side improves both transient & eq
Theorem: stable dynamic, optimal equilibrium
Zhao, Mallada, Low. CISS 2015
physical network
cyber network

## Slide 78: Local frequencies
[Tom Overbye, 2015 Cornell]

## Slide 79: Simulations
Dynamic simulation of IEEE 39-bus system
Power System Toolbox (RPI)
Detailed generation model
Exciter model, power system
stabilizer model
Nonzero resistance lines

## Slide 80: Primary control

## Slide 81: Secondary control
swing dynamics
with OLC
area 1

## Slide 82: Secondary control
no line limits
with line limits
Total inter-area flow is
the same in both cases
line limit
line limit

## Slide 83: Key message
Large network of DERs
  Real-time optimization at scale
  Computational challenge: power flow solution
Online optimization
  Network computes power flow solutions in real time at scale for free
  Exploit it for our optimization/control
  Naturally adapts to evolving network conditions
Examples
  Slow timescale: OPF
  Fast timescale: frequency control

## Slide 84
Online optimization of electric vehicle charging
  Enables mass deployment at much lower infrastructure costs
  First pilot @Caltech: 54 adaptive programmable chargers
  2x 150kVA transformers, breakers, grid sensors, etc
main panel
150kVA transformer
charger
Energized
Feb 13 Sat
2016
debugging
Application: EV charging
G. Lee

## Slide 85
more details
(backup)

## Slide 86: Recall: design approach
Idea: exploit system dynamic as part of primal-dual algorithm for modified opt
  closed-loop system is stable
  its equilibria are optimal
power network
load control

## Slide 87: Outline
Load-side frequency control
  Primary control
  Secondary control
  Interaction with generator-side control
Zhao et al SGC2012, Zhao et al TAC2014

## Slide 88: Optimal load control (OLC)
demand = supply
disturbances
controllable
loads

## Slide 89: system dynamics + load control = primal dual alg
swing dynamics
load control
active control
implicit

## Slide 90: Control architecture

## Slide 91: Load-side primary control works
Theorem
Starting from any
system trajectory
converges to
  is unique optimal of OLC
  is unique optimal for dual
completely decentralized
frequency deviations contain right info for local decisions that are globally optimal

## Slide 92: Recap: control goals
  Rebalance power
  Stabilize frequencies
  Restore nominal frequency
  Restore scheduled inter-area flows
  Respect line limits
Yes
Yes
No
No
No

## Slide 93: Outline
Load-side frequency control
  Primary control
  Secondary control
  Interaction with generator-side control
Mallada, Low, IFAC 2014
Mallada et al, Allerton 2014

## Slide 94: OLC for secondary control
restore nominal freq
demand = supply

## Slide 95: OLC for secondary control
key idea: “virtual flows”
demand = supply
in steady state:
virtual flow = real flows
restore nominal freq

## Slide 96: OLC for secondary control
restore nominal freq
in steady state:
virtual flow = real flows
restore inter-area flow
respect line limit
demand = supply

## Slide 97: Recall: primary control
swing dynamics:
load control:
active
control
implicit

## Slide 98: Control architecture
physical network
cyber network

## Slide 99: Secondary frequency control
load control:
computation & communication:
primal var:
dual vars:

## Slide 100: Secondary control works
Theorem
starting from any initial point, system
trajectory converges s. t.
  is unique optimal of OLC
  nominal frequency is restored
  inter-area flows are restored
  line limits are respected

## Slide 101: Recap: key ideas
Design optimal load control (OLC) problem
  Objective function, constraints
Derive control law as primal-dual algorithms
  Lyapunov stability
  Achieve original control goals in equilibrium
Distributed algorithms
primary control:
secondary control:

## Slide 102: Recap: key ideas
Design optimal load control (OLC) problem
  Objective function, constraints
Derive control law as primal-dual algorithms
  Lyapunov stability
  Achieve original control goals in equilibrium
Distributed algorithms
Virtual flows
  Enforce desired properties on line flows
in steady state: virtual flow = real flows

## Slide 103: Recap: control goals
  Rebalance power
  Resynchronize/stabilize frequency
  Restore nominal frequency
  Restore scheduled inter-area flows
  Respect line limits
Yes
Yes
Secondary control restores nominal
frequency but requires local communication
Yes
Yes
Mallada, et al Allerton2014
Zhao, et al TAC2014
Yes

## Slide 104: Outline
Load-side frequency control
  Primary control
  Secondary control
  Interaction with generator-side control
Zhao and Low, CDC2014
Zhao, Mallada, Low, CISS 2015
Zhao, Mallada, Low, Bialek, PSCC 2016

## Slide 105: Generator-side control
Recall model: linearized PF, no generator control
New model: nonlinear PF, with generator control

## Slide 106: Generator-side control
generator bus: real power injection
load bus: controllable load
New model: nonlinear PF, with generator control

## Slide 107: Generator-side control
New model: nonlinear PF, with generator control
generator buses:

## Slide 108: Load-side control
physical network
cyber network

## Slide 109: Load-side primary control works
Theorem
Every closed-loop equilibrium solves OLC and its dual
Suppose
Any closed-loop equilibrium is (locally) asymptotically stable provided

## Slide 110: Conclusion
Forward-engineering design facilitates
  explicit control goals
  distributed algorithms
  stability analysis
Load-side frequency regulation
  primary & secondary control works
  helps generator-side control

## Slide 111: Key message
Large network of DERs
  Real-time optimization at scale
  Computational challenge: power flow solution
Online optimization
  Network computes power flow solutions in real time at scale for free
  Exploit it for our optimization/control
  Naturally adapts to evolving network conditions
Examples
  Slow timescale: OPF
  Fast timescale: frequency control

## Slide 112: Online optimal power flow
Large network of DERs
  Need real-time optimization at scale
  Computational challenge: power flow solution
Online optimization
  Network computes power flow solutions in real time at scale for free
  Exploit it for our optimization/control
  Naturally adapts to evolving network conditions
control x(t)
measurement y(t)
generic OPF problem

## Slide 113
1st customer
Application: EV charging
Online optimization of electric vehicle charging
  Enables mass deployment at much lower infrastructure costs
  First pilot @Caltech: 54 adaptive programmable chargers
  2x 150kVA transformers, breakers, grid sensors, etc
main panel
150kVA transformer
charger
Energized
Feb 13 Sat
2016
debugging