## Slide 1: Optimal Demand Response and Power Flow
Steven Low
Computing + Math Sciences
Electrical Engineering
Caltech
March 2012
Notes: Economic Dispatch in Power Networks with Storage
March 10-12, 2010: Workshop on Distributed Decisions via Games and Price Mechanisms, Lund University, Sweden (Anders Rantzer)
Aug 24, 2010: Lund University, Sweden
Sept 28, 2010: Complexity workshop, Caltech, CA (John Doyle)
Oct 5, 2010: Southern California Smart Grid Symposium
Oct 25, 2010: DIMACS workshop on Algorithmic Decision Theory for Smart Grids
Nov 1, 2010: Energy Workshop: A System Approach Toward Green Energy Production and Adaptive Power Distribution. Cal State University, Long Beach, CA (Prof Henry Yeh)
Nov 11, 2010: Southern California Network Economics & Game Theory Workshop, UCLA (Prof Mihaela van der Schaar)
Nov 16, 2010: Caltech Lunch Bunch Seminar
Dec 13, 2010: ARPA-E GENI (Smart Grid) Workshop
Jan 2011: KACST Workshop on Smart Grid, Riyadh, Saudi Arabia
Feb 7, 2011: Workshop on Information Theory & Application, UCSD, CA
Feb 18-29, 2011: NSCU-SRI Workshop on Cyber-Physical Applications in Smart Power Systems, North Carolina State University, Raleigh, NC

## Slide 2: Motivations Big picture

## Slide 3
US Primary Energy Flow 2009
quadrillion BTU
8%

## Slide 4: US electricity flow 2009
Source: EIA Annual Energy Review 2009
Conversion loss: 63%
quadrillion Btu
Plant use: 2%
T&D losses: 2.6%
End use: 33%
Gross gen: 37%
Fossil : 67%
Nuclear: 22%
Renewable: 11%
US total energy use: 94.6 quads
For electricity gen: 41%

## Slide 5: Where does electricity come from
Transcos
Transmission:
enerator to
substation
generator
generator
transmission
distribution
Transmission: from generator to substation, long distance, high voltage
Distribution: from substation to customer, shorter distance, lower voltage

## Slide 6: Global trends
1 Proliferation renewables
  Driven by sustainability
  Enabled by policy and investment

## Slide 7: Sustainability challenge
US CO2 emission
Elect generation: 40%
Transportation: 20%
Electricity generation 1971-2007
1973:
6,100 TWh
2007:
19,800 TWh
Sources: International Energy Agency, 2009
DoE, Smart Grid Intro, 2008
In 2009, 1.5B people
have no electricity

## Slide 8
Source: Renewable Energy
Global Status Report, 2010
Source: M. Jacobson, 2011
Wind power over land (exc. Antartica)
70 – 170 TW
Solar power over land
340 TW
Worldwide
energy demand:
16 TW
electricity demand:
2.2 TW
wind capacity (2009):
159 GW
grid-tied PV capacity (2009):
21 GW
Notes: World wind speed at 100m:
All wind worldwide: 1,700 TW
All wind over land in high-wind areas outside Antartica: 70 – 170 TW
World power (all energy) demand in 2030: 16.9 TW
World surface solar
All solar worldwide: 6,500 TW
All solar over land in high-solar locations: 340 TW
Source: Renewable Energy Global Status Report, Sept 2010:
2009 grid-tied solar PV capacity increase
The world added 7GW of grid-connected PV capacity, to a total of 21 GW
Germany: +3.8 GW to a total of 9.8 GW
Spain: +70MW to a total of 3.4 GW (Govt subsidy expired!)
US: +470MW to a total of 1 GW (CA ~half of increase)
Off-grid capacity: 4 GW
2009 wind capacity increase
Wind power increased the most among all renewables, by 38 GW to a total of 159 GW
US: +10 GW to a total of 35 GW
China: +13.8 GW to a total of 25.8 GW
Germany: +1.9GW to a total of 25.8 GW

## Slide 9: Uncertainty
High Levels of Wind and Solar PV Will Present an Operating Challenge!
Source: Rosa Yang, EPRI

## Slide 10: Global trends
1 Proliferation of renewables
  Driven by sustainability
  Enabled by policy and investment
2 Migration to distributed arch
  2-3x generation efficiency
  Relief demand on grid capacity

## Slide 11: Large active network of DER
DER: PVs, wind turbines, batteries, EVs, DR loads

## Slide 12: Large active network of DER
DER: PVs, wind turbines, EVs, batteries, DR loads
Millions of active endpoints introducing rapid large
random fluctuations
in supply and demand

## Slide 13: Implications
Current control paradigm works well today
  Low uncertainty, few active assets to control
  Centralized, open-loop, human-in-loop, worst-case preventive
  Schedule supplies to match loads
Future needs
  Fast computation to cope with rapid, random, large fluctuations in supply, demand, voltage, freq
  Simple algorithms to scale to large networks of active DER
  Real-time data for adaptive control, e.g. real-time DR

## Slide 14: Outline
Optimal demand response
  With L. Chen, L. Jiang, N. Li
Optimal power flow
  With S. Bose, M. Chandy, C. Clarke, M. Farivar, D. Gayme, J. Lavaei

## Slide 15
Source: Steven Chu, GridWeek 2009

## Slide 16: Optimal demand response
Model
Results
  Uncorrelated demand: distributed alg
  Correlated demand: distributed alg
  Impact of uncertainty
Some refs:
Kirschen 2003, S. Borenstein 2005, Smith et al 2007
Caramanis & Foster 2010, 2011
Varaiya et al 2011
Ilic et al 2011

## Slide 17: Optimal demand response
Model
Results
  Uncorrelated demand: distributed alg
  Correlated demand: distributed alg
  Impact of uncertainty
L Chen, N. Li, L. Jiang and S. H. Low, Optimal demand response. In Control & Optimization Theory of Electric Smart Grids, Springer 2011
L. Jiang and S. H. Low, CDC 2011, Allerton 2011

## Slide 18: Features to capture
Wholesale markets
  Day ahead, real-time balancing
Renewable generation
  Non-dispatchable
Demand response
  Real-time control (through pricing)
day ahead
balancing
renewable
utility
users
utility
users

## Slide 19: Model: user
Each user has 1 appliance (wlog)
  Attains utility ui(xi(t)) when consumes xi(t)
Demand at t:

## Slide 20: Model: LSE (load serving entity)
Power procurement
  Day-ahead power:
    Control, decided a day ahead
  Renewable power:
    Random variable, realized in real-time
  Real-time balancing power:
capacity
energy

## Slide 21: Model: LSE (load serving entity)
Power procurement
  Day-ahead power:
    Control, decided a day ahead
  Renewable power:
    Random variable, realized in real-time
  Real-time balancing power:
capacity
energy

## Slide 22: Model: LSE (load serving entity)
Power procurement
  Day-ahead power:
    Control, decided a day ahead
  Renewable power:
    Random variable, realized in real-time
  Real-time balancing power:
capacity
energy

## Slide 23: Model: LSE (load serving entity)
Power procurement
  Day-ahead power:
    Control, decided a day ahead
  Renewable power:
    Random variable, realized in real-time
  Real-time balancing power:
Use as much renewable as possible
Optimally provision day-ahead power
Buy sufficient real-time power to balance demand
capacity
energy

## Slide 24: Simplifying assumption
No network constraints

## Slide 25: Objective
Day-ahead decision
  How much power should LSE buy from day-ahead market?
Real-time decision (at t-)
  How much should users consume, given realization of wind power and ?
How to compute these decisions distributively?
How does closed-loop system behave ?
t-
t – 24hrs
available info:
decision:

## Slide 26: Objective
Real-time (at t-)
  Given and realizations of , choose optimal to max social welfare
Day-ahead
  Choose optimal that maximizes expected optimal social welfare
t-
t – 24hrs
available info:
decision:

## Slide 27: Optimal demand response
Model
Results
  Uncorrelated demand: distributed alg
  Correlated demand: distributed alg
  Impact of uncertainty

## Slide 28: Uncorrelated demand: T=1
Each user has 1 appliance (wlog)
  Attains utility ui(xi(t)) when consumes xi(t)
Demand at t:
drop t for this case

## Slide 29: Welfare function
Supply cost
Welfare function (random)
excess demand
user utility
supply cost

## Slide 30: Welfare function
Supply cost
Welfare function (random)
excess demand
user utility
supply cost

## Slide 31: Optimal operation
Welfare function (random)
Optimal real-time demand response
Optimal day-ahead procurement
given realization
of
Overall problem:

## Slide 32: Optimal operation
Welfare function (random)
Optimal real-time demand response
Optimal day-ahead procurement
given realization
of
Overall problem:

## Slide 33: Optimal operation
Welfare function (random)
Optimal real-time demand response
Optimal day-ahead procurement
given realization
of
Overall problem:

## Slide 34: Real-time DR vs scheduling
Real-time DR:
Scheduling:
Theorem
Under appropriate assumptions:
benefit increases with
uncertainty
marginal real-time cost

## Slide 35: Algorithm 1 (real-time DR)
Active user i computes
  Optimal consumption
LSE computes
  Real-time “price”
  Optimal day-ahead energy to use
  Optimal real-time balancing energy
real-time DR

## Slide 36: Algorithm 1 (real-time DR)
Active user i :
inc if marginal utility > real-time price
LSE :
inc if total demand > total supply
Decentralized
Iterative computation at t-

## Slide 37: Algorithm 1 (real-time DR)
Theorem: Algorithm 1
Socially optimal
  Converges to welfare-maximizing DR
  Real-time price aligns marginal cost of supply with individual marginal utility
Incentive compatible
  max i’s surplus given price

## Slide 38: Algorithm 2 (day-ahead procurement)
Optimal day-ahead procurement
LSE:
calculated from Monte Carlo simulation of Alg 1
(stochastic approximation)

## Slide 39: Algorithm 2 (day-ahead procurement)
Theorem
Algorithm 2 converges a.s. to optimal
for appropriate stepsize

## Slide 40: Optimal demand response
Model
Results
  Uncorrelated demand: distributed alg
  Correlated demand: distributed alg
  Impact of uncertainty

## Slide 41: Impact of renewable on welfare
mean
Renewable power:
zero-mean RV
Optimal welfare of (1+T)-period DP

## Slide 42: Impact of renewable on welfare
Theorem
increases in a, decreases in b
increases in s (plant size)

## Slide 43: With ramp rate costs
Day-ahead ramp cost
Real-time ramp cost
Social welfare
Theorem
increases in a, decreases in b
increases in s (plant size)

## Slide 44: Outline
Optimal demand response
  With L. Chen, L. Jiang, N. Li
Optimal power flow
  With S. Bose, M. Chandy, C. Clarke, M. Farivar, D. Gayme, J. Lavaei

## Slide 45: Optimal power flow (OPF)
OPF is solved routinely to determine
  How much power to generate where
  Market operation & pricing
  Parameter setting, e.g. taps, VARs
Non-convex and hard to solve
  Huge literature since 1962
  In practice, operators often use heuristics to find a feasible operating point
  Or solve DC power flow (LP)

## Slide 46: Optimal power flow (OPF)
Problem formulation
  Carpentier 1962
Computational techniques:
  Dommel & Tinney 1968
  Surveys: Huneault et al 1991, Momoh et al 2001, Pandya et al 2008
Bus injection model (SDP formulation):
  Bai et al 2008, 2009, Lavaei et al 2010
  Bose et al 2011, Sojoudi et al 2011, Zhang et al 2011
  Lesieutre et al 2011
Branch flow model
  Baran & Wu 1989, Chiang & Baran 1990, Farivar et al 2011

## Slide 47: Models
i
j
k
i
j
k
branch
flow
bus
injection

## Slide 48: Models: Kirchhoff’s law
linear relation:

## Slide 49: Outline: OPF
SDP relaxation
  Bus injection model
Conic relaxation
  Branch flow model
Application

## Slide 50: Bus injection model
Nodes i and j are linked with an admittance
Kirchhoff's Law:

## Slide 51: Classical OPF
Generation cost
Generation power constraints
Voltage magnitude constraints
Kirchhoff law
Power balance

## Slide 52: Classical OPF
In terms of V:
Key observation [Bai et al 2008]:
OPF = rank constrained SDP

## Slide 53: Classical OPF
convex relaxation: SDP

## Slide 54: Semi-definite relaxation
Non-convex QCQP
Rank-constrained SDP
Relax the rank constraint and solve the SDP
Does the optimal solution satisfy the rank-constraint?
We are done!
Solution may not
be meaningful
yes
no

## Slide 55: SDP relaxation of OPF
Lagrange
multipliers

## Slide 56: Sufficient condition
Theorem
If has rank n-1 then
has rank 1, SDP relaxation is exact
Duality gap is zero
A globally optimal can be recovered
All IEEE test systems (essentially) satisfy the condition!
J. Lavaei and S. H. Low: Zero duality gap in optimal power flow problem.
Allerton 2010, TPS 2011

## Slide 57: OPF over radial networks
Suppose
tree (radial) network
no lower bounds on power injections
Theorem
always has rank n-1
always has rank 1 (exact relaxation)
OPF always has zero duality gap
Globally optimal solvable efficiently
S. Bose, D. Gayme, S. H. Low and M. Chandy, OPF over tree networks.
Allerton 2011

## Slide 58: OPF over radial networks
Suppose
tree (radial) network
no lower bounds on power injections
Theorem
always has rank n-1
always has rank 1 (exact relaxation)
OPF always has zero duality gap
Globally optimal solvable efficiently
Also: B. Zhang and D. Tse, Allerton 2011
S. Sojoudi and J. Lavaei, submitted 2011

## Slide 59: QCQP over tree
graph of QCQP
QCQP
QCQP over tree

## Slide 60: QCQP over tree
Semidefinite relaxation
QCQP

## Slide 61: QCQP over tree
Key assumption
QCQP
Theorem
Semidefinite relaxation is exact for
QCQP over tree
S. Bose, D. Gayme, S. H. Low and M. Chandy, submitted March 2012

## Slide 62: OPF over radial networks
Theorem
always has rank n-1
always has rank 1 (exact relaxation)
OPF always has zero duality gap
Globally optimal solvable efficiently
“no lower bounds”
removes these

## Slide 63: OPF over radial networks
Theorem
always has rank n-1
always has rank 1 (exact relaxation)
OPF always has zero duality gap
Globally optimal solvable efficiently
bounds on constraints
remove these

## Slide 64: Outline: OPF
SDP relaxation
  Bus injection model
Conic relaxation
  Branch flow model
Application

## Slide 65: Branch flow model
Kirchhoff’s Law:
load - gen
line
loss
i
j
k
branch
power

## Slide 66: Branch flow model
Kirchhoff’s Law:
i
j
k
branch
power
Ohm’s Law:

## Slide 67: OPF using branch flow model
Kirchoff’s Law:
Ohm’s Law:
real power loss
CVR (conservation
voltage reduction)

## Slide 68: OPF using branch flow model
Kirchhoff’s Law:
Ohm’s Law:

## Slide 69: OPF using branch flow model
Kirchhoff’s Law:
Ohm’s Law:
demands

## Slide 70: OPF using branch flow model
Kirchhoff’s Law:
Ohm’s Law:
generation
VAR control

## Slide 71: Solution strategy
OPF
nonconvex
OPF-ar
nonconvex
OPF-cr
convex
exact
relaxation
inverse
projection
for tree
angle
relaxation
conic
relaxation

## Slide 72: Angle relaxation
Ohm’s Law:
Kirchhoff’s Law:
Baran and Wu 1989
for radial networks
Angles of Iij , Vi eliminated !
Points relaxed to circles

## Slide 73: Angle relaxation
Baran and Wu 1989
for radial networks

## Slide 74: OPF-ar
Linear objective
Linear constraints
Quadratic equality

## Slide 75
Quadratic inequality
OPF-cr

## Slide 76: OPF over radial networks
Theorem
Both relaxation steps are exact
  OPF-cr is convex and exact
  Phase angles can be uniquely determined
OPF-ar has zero duality gap
M. Farivar, C. Clarke, S. H. Low and M. Chandy, Inverter VAR control for distribution systems with renewables. SmartGridComm 2011

## Slide 77
What about mesh networks ??
M. Farivar and S. H. Low, submitted March 2012

## Slide 78: Solution strategy
OPF
nonconvex
OPF-ar
nonconvex
OPF-cr
convex
exact
relaxation
inverse
projection
for tree
angle
relaxation
conic
relaxation
??

## Slide 79: OPF using branch flow model
Kirchoff’s Law:
Ohm’s Law:

## Slide 80: Convexification of mesh networks
OPF
OPF-ar
OPF-ps
Theorem
Need phase shifters only
outside spanning tree

## Slide 81: Key message
Radial networks computationally simple
  Exploit tree graph & convex relaxation
  Real-time scalable control promising
Mesh networks can be convexified
  Design for simplicity
  Need few phase shifters (sparse topology)

## Slide 82: Application: Volt/VAR control
Motivation
  Static capacitor control cannot cope with rapid random fluctuations of PVs on distr circuits
Inverter control
  Much faster & more frequent
  IEEE 1547 does not optimize VAR currently (unity PF)

## Slide 83: Load and Solar Variation
Empirical distribution
of (load, solar) for Calabash

## Slide 84: Improved reliability
for which problem is feasible
Implication: reduced likelihood of violating voltage limits or VAR flow constraints

## Slide 85: Energy savings

## Slide 86: Summary
More reliable operation
Energy savings